## SUMMARY
Project ID: | A NEW RESTURANT FIT-UP FOR OAK AND STONE
Address: | 7010 CENTRAL LAKE DRIVE THE VILLAGES, FLORIDA 34762
No. of Floors: | 1
Building GSF | 2500
DIVISION NO. | DESCRIPTION | TOTAL DIV. COST | TOTAL DIV. COST (PER SF)
1000 | General Requirements | 19334.0986 | 7.7336
26000 | Electrical | 139798.2547 | 55.9193
PROJECTED COST |  | 159132.3533 | 63.6529
OVERHEAD AND PROFIT | 20% | 31826.4707 | 12.7306
INSURANCE | 3% | 4773.9706 | 1.9096
CONTINGENCY | 5% | 7956.6177 | 3.1826
SUGGESTED BASE BID |  | 203689.4122 | 81.4758

## MATERIAL TAKE-OFF
Project:
Address:
Scope: | ELECTRICAL
Date:
SR # | REF | DESCRIPTION | QUANTITY | UNIT | WASTAGE | QUANTITY W/ WASTAGE | LABOR HOURS | WAGES | TOTAL LABOR HOUR | TOTAL LABOUR COST | MATERIAL RATE | TOTAL MATETRIAL COST | EQUIPMENT RATE | TOTAL EQUIPMENT COSTS | SUB COST
01. GENERAL REQUIREMENTS
1 |  | Supervision and Coordination | 1 | LS | 0% | 1 | 39.7561 | 87.91 | 39.7561 | 3494.9564 | 0 | 0 | 0 | 0 | 3494.9564 | 139798.2547
2 |  | Submittals and Shop drawings | 1 | LS | 0% | 1 | 26.239 | 87.91 | 26.239 | 2306.6712 | 0 | 0 | 0 | 0 | 2306.6712
3 |  | Final Cleaning | 1 | LS | 0% | 1 | 13.5171 | 87.91 | 13.5171 | 1188.2852 | 0 | 0 | 0 | 0 | 1188.2852
4 |  | Mobilization Costs | 1 | LS | 0% | 1 | 37.3707 | 87.91 | 37.3707 | 3285.259 | 0 | 0 | 0 | 0 | 3285.259
5 |  | Bond @ 2% | 1 | LS | 0% | 1 | 31.8049 | 87.91 | 31.8049 | 2795.9651 | 0 | 0 | 0 | 0 | 2795.9651
6 |  | Temporary Control & Facilities | 1 | LS | 0% | 1 | 15.5844 | 87.91 | 15.5844 | 1370.0229 | 0 | 0 | 0 | 0 | 1370.0229
7 |  | Scaffolding | 1 | LS | 0% | 1 | 55.6585 | 87.91 | 55.6585 | 4892.9389 | 0 | 0 | 0 | 0 | 4892.9389
[14 empty] | SUBTOTAL | 19334.0986
26. ELECTRICAL
Lighting Fixtures
8 |  | A: 4'' Round LED Downlight Manuf & Catalog#: Prescolite, LFR-4RD-M-15L30K8-WD-DMX Lumens: 1494 | 18 | EA | 0% | 18 | 2.109 | 55.54 | 37.962 | 2108.4095 | 153.79 | 2768.22 | 0 | 0 | 4876.6295
9 |  | AE: 4'' Round LED Downlight w/ Emergency Backup Battery Manuf: Prescolite Catalog#:LFR-4RD-M-15L30K8-WD-DMXEM Lumens: 1494 | 3 | EA | 0% | 3 | 2.6639 | 55.54 | 7.9918 | 443.8665 | 204.29 | 612.87 | 0 | 0 | 1056.7365
10 |  | D: Indoor Mini Pendant Manuf & Catalog#: Possini Euro, LED Replacement Bulb 8W ST18 E26 Lumens: 850 | 8 | EA | 0% | 8 | 2.0672 | 55.54 | 16.5379 | 918.5169 | 149.99 | 1199.92 | 0 | 0 | 2118.4369
11 |  | E: 4'' Decorative Pendant Manuf & Catalog#: Luminoso, LCP-4-30K-7-F-80-10-SP Lumens: 2613 | 33 | EA | 0% | 33 | 3.5948 | 55.54 | 118.6292 | 6588.6656 | 289 | 9537 | 0 | 0 | 16125.6656
12 |  | EE: 4'' Decorative Pendant w/ Emergency Battery Backup Manuf & Catalog#: Luminoso, LCP-4-30K-7-F-80-10-SP Lumens: 2613 | 3 | EA | 0% | 3 | 4.1498 | 55.54 | 12.4493 | 691.4345 | 339.5 | 1018.5 | 0 | 0 | 1709.9345
13 |  | F: Suspended Light Chandelier Manuf & Catalog#:Visual & Comfort CO, 700GRC-48-BW-LED930 Lumens: 4623 | 8 | EA | 0% | 8 | 26.7838 | 55.54 | 214.2707 | 11900.5936 | 2399.2 | 19193.6 | 0 | 0 | 31094.1936
14 |  | XD: Wall Mounted Exterior Light Fixture w/ Emergency Battery Backup Manuf & Catalog#: Lithonia, WPX1 LED P2 40K MVOLT E14WC | 3 | EA | 0% | 3 | 5.1985 | 55.54 | 15.5954 | 866.1658 | 434.93 | 1304.79 | 0 | 0 | 2170.9558
15 |  | X1: Sinfle Face To LED Edge-UT Exit Sign W/ Red Letters Manuf & Catalog#: Lithonia,EDG-1-RMR-EL | 4 | EA | 0% | 4 | 4.7368 | 55.54 | 18.9472 | 1052.328 | 392.92 | 1571.68 | 0 | 0 | 2624.008
16 |  | B: 6'' Round LED Downlight Manuf & Catalog#: Prescolite, LFR-6RD-M-15L27K8-WD-DMX Lumens: 1487 | 11 | EA | 0% | 11 | 4.2758 | 55.54 | 47.0339 | 2612.2653 | 350.97 | 3860.67 | 0 | 0 | 6472.9353
17 |  | BE: 6'' Round LED Downlight w/ Emergency Backup Manuf & Catalog#: Prescolite, LFR-6RD-M-15L27K8-WD-DMX-EM Lumens: 1487 | 4 | EA | 0% | 4 | 4.8308 | 55.54 | 19.323 | 1073.2013 | 401.47 | 1605.88 | 0 | 0 | 2679.0813
18 |  | C: Restroom Pendant Light Manuf & Catalog#: Alder & Ore, 7W ST18 E26 Lumens: 650 | 4 | EA | 0% | 4 | 2.4234 | 55.54 | 9.6936 | 538.3816 | 182.4 | 729.6 | 0 | 0 | 1267.9816
19 |  | G: Surface Mounted Low Voltage RGBW Tape Light Manuf & Catalog#: Acclaim, Flexi (FLX444/LP-CL4/111/FCLPEC1 Lumens: 226 Per Foot | 8 | EA | 0% | 8 | 0.66076 | 55.54 | 5.2861 | 293.5881 | 22 | 176 | 0 | 0 | 469.5881
20 |  | R1: 2x2 LED Troffer Manuf & Catalog#: Columbia Lighting, CBT22-LSCS Lumens: 3437 | 23 | EA | 0% | 23 | 1.8895 | 55.54 | 43.4596 | 2413.7483 | 133.82 | 3077.86 | 0 | 0 | 5491.6083
21 |  | R1E: 2x2 LED Troffer W/ Emergency Battery Backup Manuf & Catalog#: Columbia Lighting, CBT22-LSCS-ELL14 Lumens: 3437 | 10 | EA | 0% | 10 | 2.4445 | 55.54 | 24.4449 | 1357.6722 | 184.32 | 1843.2 | 0 | 0 | 3200.8722
22 |  | T1:Track Light - 8 Foot Section Manuf & Catalog#: Jesco, J2TR-8-BK Lumens: 2700 | 3 | EA | 0% | 3 | 1.2678 | 55.54 | 3.8034 | 211.2394 | 77.24 | 231.72 | 0 | 0 | 442.9594
23 |  | T2:Track Light - 4 Foot Section Manuf & Catalog#: Jesco, J2TR-4-BK Lumens: 2700 | 2 | EA | 0% | 2 | 0.90241 | 55.54 | 1.8048 | 100.2393 | 43.99 | 87.98 | 0 | 0 | 188.2193
24 |  | LED Tape Light (1'-8'' L) | 8 | EA | 0% | 8 | 1.2185 | 55.54 | 9.7476 | 541.3819 | 72.75 | 582 | 0 | 0 | 1123.3819
Power
Switches
25 |  | Single Pole Switch | 6 | EA | 0% | 6 | 0.47 | 55.54 | 2.82 | 156.6228 | 3.98 | 23.88 | 0 | 0 | 180.5028
26 |  | 3 Way Switch | 2 | EA | 0% | 2 | 0.516 | 55.54 | 1.032 | 57.3173 | 9.86 | 19.72 | 0 | 0 | 77.0373
27 |  | Occupancy Sensor Wall Switch | 3 | EA | 0% | 3 | 1.413 | 55.54 | 4.239 | 235.4341 | 84.3 | 252.9 | 0 | 0 | 488.3341
28 |  | Non-Fused Disconnect Switch | 12 | EA | 0% | 12 | 1.782 | 55.54 | 21.384 | 1187.6674 | 109.76 | 1317.12 | 0 | 0 | 2504.7874
29 |  | Motor Switch | 5 | EA | 0% | 5 | 1.126 | 55.54 | 5.63 | 312.6902 | 48.98 | 244.9 | 0 | 0 | 557.5902
30 |  | Disconnect Switch | 3 | EA | 0% | 3 | 1.506 | 55.54 | 4.518 | 250.9297 | 87.96 | 263.88 | 0 | 0 | 514.8097
31 |  | Motor Rated Disconnect | 9 | EA | 0% | 9 | 1.996 | 55.54 | 17.964 | 997.7206 | 135.09 | 1215.81 | 0 | 0 | 2213.5306
Receptacles
32 |  | GFI Duplex Receptacle | 9 | EA | 0% | 9 | 0.624 | 55.54 | 5.616 | 311.9126 | 23.18 | 208.62 | 0 | 0 | 520.5326
33 |  | GFI WP Duplex Receptacle | 1 | EA | 0% | 1 | 0.652 | 55.54 | 0.652 | 36.2121 | 25.48 | 25.48 | 0 | 0 | 61.6921
34 |  | Special Purpose Receptacle | 1 | EA | 0% | 1 | 0.614 | 55.54 | 0.614 | 34.1016 | 21.87 | 21.87 | 0 | 0 | 55.9716
35 |  | Mounted Receptacle | 12 | EA | 0% | 12 | 0.558 | 55.54 | 6.696 | 371.8958 | 12.88 | 154.56 | 0 | 0 | 526.4558
36 |  | Quad Plex Receptacle | 5 | EA | 0% | 5 | 0.876 | 55.54 | 4.38 | 243.2652 | 34.98 | 174.9 | 0 | 0 | 418.1652
37 |  | Duplex Receptacle | 61 | EA | 0% | 61 | 0.564 | 55.54 | 34.404 | 1910.7982 | 15.98 | 974.78 | 0 | 0 | 2885.5782
Panels
38 |  | P1: Main Panel 120/208V, 3P, 4 Wire, 60 HZ Main Breaker Rating: 225 Amp | 1 | EA | 0% | 1 | 6.512 | 55.54 | 6.512 | 361.6765 | 1410.29 | 1410.29 | 0 | 0 | 1771.9665
39 |  | KP: Panel 120/208V, 3P, 4 Wire, 60 HZ | 2 | EA | 0% | 2 | 7.986 | 55.54 | 15.972 | 887.0849 | 1880.18 | 3760.36 | 0 | 0 | 4647.4449
40 |  | P2: Panel 120/208V, 3P, 4 Wire, 60 HZ Main Breaker Rating (400 Amps) | 1 | EA | 0% | 1 | 9.244 | 55.54 | 9.244 | 513.4118 | 2026.7 | 2026.7 | 0 | 0 | 2540.1118
41 |  | PAC: Panel 120/208V, 3P, 4 Wire, 60 HZ Main Breaker Rating: 400 Amp | 1 | EA | 0% | 1 | 9.244 | 55.54 | 9.244 | 513.4118 | 2026.7 | 2026.7 | 0 | 0 | 2540.1118
Breaker
42 |  | 1 Pole Breaker (20 Amp) | 52 | EA | 0% | 52 | 0.598 | 55.54 | 31.096 | 1727.0718 | 24.28 | 1262.56 | 0 | 0 | 2989.6318
43 |  | 3 Pole Breaker (60 Amp) | 1 | EA | 0% | 1 | 1.786 | 55.54 | 1.786 | 99.1944 | 134.74 | 134.74 | 0 | 0 | 233.9344
44 |  | 3 Pole Breaker (125 Amp) | 1 | EA | 0% | 1 | 2.514 | 55.54 | 2.514 | 139.6276 | 298.55 | 298.55 | 0 | 0 | 438.1776
45 |  | 3 Pole Breaker (30 Amp) | 1 | EA | 0% | 1 | 1.102 | 55.54 | 1.102 | 61.2051 | 67.96 | 67.96 | 0 | 0 | 129.1651
Low Voltage
46 |  | Data Outlet | 19 | EA | 0% | 19 | 0.57 | 55.54 | 10.83 | 601.4982 | 5.98 | 113.62 | 0 | 0 | 715.1182
47 |  | 4 Gang Outlet Box W/ (4) GFCI Modules | 1 | EA | 0% | 1 | 1.529 | 55.54 | 1.529 | 84.9207 | 105.27 | 105.27 | 0 | 0 | 190.1907
48 |  | Voice/ Data Outlet Mounted | 3 | EA | 0% | 3 | 0.638 | 55.54 | 1.914 | 106.3036 | 11.03 | 33.09 | 0 | 0 | 139.3936
Fire Alarm Devices
49 |  | Fire Alarm Strobe | 5 | EA | 0% | 5 | 0.986 | 55.54 | 4.93 | 273.8122 | 75 | 375 | 0 | 0 | 648.8122
50 |  | FA: Fire Alarm Annunciator Panel | 1 | EA | 0% | 1 | 5.216 | 55.54 | 5.216 | 289.6966 | 485.46 | 485.46 | 0 | 0 | 775.1566
51 |  | Fire Alarm Speaker/Strobe | 7 | EA | 0% | 7 | 1.247 | 55.54 | 8.729 | 484.8087 | 104.49 | 731.43 | 0 | 0 | 1216.2387
Misc.
52 |  | Occupancy Sensor | 9 | EA | 0% | 9 | 1.672 | 55.54 | 15.048 | 835.7659 | 90.52 | 814.68 | 0 | 0 | 1650.4459
53 |  | CFI Module | 1 | EA | 0% | 1 | 3.983 | 55.54 | 3.983 | 221.2158 | 322.57 | 322.57 | 0 | 0 | 543.7858
54 |  | Power Pack | 5 | EA | 0% | 5 | 0.918 | 55.54 | 4.59 | 254.9286 | 49.97 | 249.85 | 0 | 0 | 504.7786
55 |  | Junction Box | 15 | EA | 0% | 15 | 0.874 | 55.54 | 13.11 | 728.1294 | 43.49 | 652.35 | 0 | 0 | 1380.4794
Wiring & Conduits
56 |  | #500KCMIL | 240 | LF | 10% | 264 | 0.418 | 55.54 | 110.352 | 6128.9501 | 17.14 | 4524.96 | 0 | 0 | 10653.9101
57 |  | #12 Wire | 1440 | LF | 10% | 1584 | 0.013 | 55.54 | 20.592 | 1143.6797 | 0.34 | 538.56 | 0 | 0 | 1682.2397
58 |  | #10 Wire | 60 | LF | 10% | 66 | 0.018 | 55.54 | 1.188 | 65.9815 | 0.6 | 39.6 | 0 | 0 | 105.5815
59 |  | #6 Wire | 210 | LF | 10% | 231 | 0.027 | 55.54 | 6.237 | 346.403 | 1.17 | 270.27 | 0 | 0 | 616.673
60 |  | #4 Wire | 30 | LF | 10% | 33 | 0.038 | 55.54 | 1.254 | 69.6472 | 1.7 | 56.1 | 0 | 0 | 125.7472
61 |  | #4/0L Wire | 120 | LF | 10% | 132 | 0.274 | 55.54 | 36.168 | 2008.7707 | 8.57 | 1131.24 | 0 | 0 | 3140.0107
62 |  | #3 Wire | 60 | LF | 10% | 66 | 0.049 | 55.54 | 3.234 | 179.6164 | 2.14 | 141.24 | 0 | 0 | 320.8564
63 |  | #1 Wire | 360 | LF | 10% | 396 | 0.067 | 55.54 | 26.532 | 1473.5873 | 3.03 | 1199.88 | 0 | 0 | 2673.4673
64 |  | 3-1/2'' Conduit | 60 | LF | 10% | 66 | 0.107 | 55.54 | 7.062 | 392.2235 | 5.13 | 338.58 | 0 | 0 | 730.8035
65 |  | 2-1/2'' Conduit | 30 | LF | 10% | 33 | 0.091 | 55.54 | 3.003 | 166.7866 | 3.67 | 121.11 | 0 | 0 | 287.8966
66 |  | 2'' Conduit | 90 | LF | 10% | 99 | 0.083 | 55.54 | 8.217 | 456.3722 | 2.19 | 216.81 | 0 | 0 | 673.1822
67 |  | 1'' Conduit | 30 | LF | 10% | 33 | 0.067 | 55.54 | 2.211 | 122.7989 | 1.23 | 40.59 | 0 | 0 | 163.3889
68 |  | Wiring & Conduits | 178.44 | LF | 10% | 196.284 | 0.082 | 55.54 | 16.0953 | 893.9323 | 2.84 | 557.4466 | 0 | 0 | 1451.3789
[14 empty] | SUBTOTAL | 139798.2547
PROJECTED COST | [14 empty] | 159132.3533
OVERHEAD AND PROFIT | [13 empty] | 20% | 31826.4707
INSURANCE | [13 empty] | 3% | 4773.9706
CONTINGENCY | [13 empty] | 5% | 7956.6177
SUGGESTED BID | [14 empty] | 203689.4122
NOTES:
General Notes: The prices used while preparing the estimate were taken from RSMeans online i.e. the standard pricing. So, it is preferred to review the prices.
|  | Note | [9 empty] | Legend
| 1 | The drawings are scaled as per the mentioned scales on the plans. | [9 empty] | LBS = Pound
SF= Square Feet
LF = Linear Feet
EA = Each
CY = Cubic Yard
SY = Square Yard
LOC = Location
LS = Lum Sum